200 Bank Street

Sherbrooke, QC  J1H 4K3

Section 0965XX

RESILIENT FLOORING

This document is intended as a suggested guide for editing your architectural guide specification.

American Biltrite will not be held liable for damages arising out of the use of any information or specifications found in this document. Make sure you have the latest publication for this specification.

Product selection and accuracy of all project specifications are the specifier’s or designer’s responsibility.

# PART 1 – GENERAL INFORMATION

  - summary

- This section deals with resilient flooring found in the drawings and schedules of the contract that meet the requirements of this section.

# 1.02	RELATED SECTIONS

- Section 3 – Cement: not covered in this section.

- Section 6 – Wood and plastic: not covered in this section.

- Section 7 – Thermal and humidity protection: not covered in this section.

- Section 9 – Other sections containing information related to floor finishes: not covered in this section.

# 1.03	rEfErences (INDUSTRY standards)

- ASTM F 710: Practice for Preparing Concrete Floors to Receive Resilient Flooring.

- ASTM E 648: Test Method for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source.

- ASTM E 662: Test Method for Specific Optical Density of Smoke Generated by Solid Materials.

- ASTM F 1869: Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Subfloor Using Anhydrous Calcium Chloride.

- ASTM F 2170: Determining Relative Humidity in Concrete Floor Slabs Using in Situ Probes.

# 1.04	items TO DELIVER

  - Provide the product’s Technical Specifications data sheet as well as all Installation and Maintenance Instructions.

  - When required, supply floor drawings and installation plans.

  - Supply a set of samples measuring at least 7.5 cm (3 in.) by 15 cm (6 in.) of the complete range of colors and finishes chosen for the project.

  - When required, provide American Biltrite’s attestation, certified by an independent laboratory, confirming that the flooring complies with the fire standards of the following tests:

1.	ASTM E 648; Critical Radiant Flux: 0.45 watts/cm2 or more;

2.	ASTM E 662; Smoke Density: 450 or less.

  - Provide American Biltrite’s Warranty Certificate.

# 1.05	QUALITY ASSURANCE

- Have American Biltrite flooring installed by a qualified installer of this type of flooring.

- In accordance with the technical instructions in the Installation Instructions, use all the accessories recommended by American Biltrite when installing its flooring.

- Follow the instructions specified in the most recent version of American Biltrite’s Installation Instructions.

# 1.06	DELIVERY, HANDLING, STORAGE

- Deliver the flooring to the installation site in American Biltrite’s original packaging. Indicate the project name and handling instructions on the outside of the boxes.

- Advise the carrier of any damaged material and indicate it on the packing slip.

- Store the flooring inside, sheltered from extreme hot or cold temperatures. Place the material on a smooth level floor or where there is uniform solid support in a clean, dry well-ventilated area. Unstack the palettes. The long-term storage temperature must be maintained between 18°C (65°F) and 24°C (75°F). Protect adhesive and flooring material from freezing, extreme heat and direct sun exposure.

- Acclimatize the subfloor, all flooring material and adhesive for 48 hours before, during and after the installation by maintaining the room temperature between 18°C (65°F) and 24°C (75°F).  Palettes must be unstacked 24 hours prior to their use.

- Afterwards, maintain the room temperature between 18°C (65°F) and 29°C (85°F). Protect the material from direct sources of heat such as air vents and other types of heaters.

- Do not install on cement slabs unless they are thoroughly cleaned, level, structurally sound and free from paint, varnish, adhesive, oil, grease, solvent, sealer, curing compounds or other foreign substances that may adversely affect adhesion.

- Install the flooring after all other finishing work, including painting, have been completed.

##### PART 2 - PRODUCTS

  - Manufacturer

- American Biltrite 
200 Bank Street
Sherbrooke, QC, Canada, J1H 4K3
Telephone: 819-829-3300

Toll free: 1-800-437-8743
Internet: www.american-biltrite.com

  - resilient flooring description

  - Characteristics:

- Texas Granite vinyl flooring.

- Nominal thickness: 3.17 mm (1/8 in.).

- Texas Granite is a homogenous product; the entire thickness is the wear layer.

- Sizes: 305 mm x 305 mm (12 in. x 12 in.), 610 mm x 610 mm (24 in. x 24 in.) or 915 mm x 915 mm (36 in. x 36 in.) tiles.

- Complies with ASTM F 1700, Class I, type A requirements.

- Refer to the product’s Technical Specifications data sheet for detailed specifications.

- Choose from any of American Biltrite’s complete line of colors (indicate the item number).

- Texas Granite has FloorScore certification.

- This product was manufactured in a factory that has ISO 9001 certification and ISO 14001.

  - AdhEsives

- Use either American Biltrite’s AD-610 or AD-535 adhesive. Both adhesives cover 18.6 sq. m/3.8 litres (200 sq. ft./gallon), when applied with the recommended notched trowel.

  - other material

- Subfloor repairs: use a good-quality Portland cement-based compound modified with latex that has a minimal resistance to compression of 246 kg/cm2 (3 500 lbs/sq. in.) to fill, smooth or level subfloor imperfections.

- Self-levelling underlayment: use a Portland cement-based self-levelling underlayment modified with a polymer that has a minimal resistance to compression of 246 kg/cm2 (3,500 lbs/sq. in.).

##### PART 3 – EXECUTION

3.01 	SITE INSPECTION

- Examine the subfloor before installation to ensure that the surface is clean, dry, smooth, structurally sound and free from foreign substances that may adversely affect adhesion or cause discoloration. Furthermore, ensure that the subfloor is free of paint, varnish, adhesive, oil, grease, solvent and other foreign substances, including treatment compounds, sealers and curing compounds that may adversely affect adhesion or alter the appearance or durability of the vinyl flooring.

- Verify the surface to ensure there is no powder, scaling or mold. If there is, remove it with a mechanical sander and level with a good-quality cement-based Portland primer.

- Never remove residual or other adhesive with chemical adhesive removal products; their use will automatically void the manufacturer’s guarantee.

- Report and rectify all unsatisfactory conditions. Do not start flooring installation until all rectifications have been completed.

3.02 	SUBFLOOR PREPARATION

- Level all rough surfaces and fill cracks and marks with a Portland cement-based patching compound modified with latex.

- Mechanically remove all surface contaminants such as paint, oil, grease, varnish, adhesive as well as various other products such as treatment compounds.

- Measure the humidity and pH levels in the cement in compliance with the following standards before installation:

- ASTM F 1869, Anhydrous Calcium Chloride test for Moisture levels. The maximum allowable readings are:

  - 5 lbs/1,000 sq. ft./24 hours (2.26 kg/92.9 sq. m/24 hours) for the AD-610 and AD-535 adhesives;

- ASTM F 2170, Relative Humidity (RH) test using in situ probes. The maximum allowable reading is 80% RH for AD-610 and 85% RH for AD-535.

- ASTM F 710, pH levels (test procedure 5.3.1). The readings should be between 8 and 10;

- The ASTM test frequency recommendation is 3 measures for the first 1,000 sq. ft. (92.9 sq. m) and one measure for each additional 1,000 sq. ft. (92.9 sq. m).

- Ensure Moisture, Relative Humidity and pH tests have all been conducted and measures meet manufacturer’s recommendations.

- In case of doubt, test the adhesion on the cement subfloor or other surface that will be covered by the flooring. Do the test using the specified flooring and recommended adhesive.

3.03 	RESILIENT FLOORING INSTALLATION

- Install the flooring according to the latest version of American Biltrite’s Installation Instructions. Use the tools, adhesives, trowel types and procedures recommended in the instructions.

- Acclimatize the subfloor, all flooring material and adhesive for 48 hours before, during and after the installation by maintaining the room temperature between 18°C (65°F) and 24°C (75°F). Afterwards, maintain the temperature between 18°C (65°F) and 29°C (85°F).

- Flash Coving of tile (when required). Extend flooring up the wall using the boot or butterfly flash coving method, to the required height (normally 6 inches). Provide cove stick and suitable capping strip.  All internal and external vertical seams shall be heat welded with coordinated color (ColorRite cold welding products can also be used.  ColorRite can match the tile’s base color upon request). For the wall section, regular vinyl cove base adhesive can be used or our PS-30 pressure-sensitive adhesive.

3.04 	CLEANING AND PROTECTION

- Remove all excess adhesive immediately after installation as recommended in American Biltrite’s Installation Instructions.

- Before allowing traffic after installation, consult and follow the recommendations in American Biltrite’s Installation Instructions.

- Following installation and cleanup, if the work of all other trades has not yet been completed, protect the flooring by laying sheets of brown non-staining Kraft paper and then a layer of plywood sheets; non-staining cardboard rolls can also be used in an efficient matter to protect the floor.

- Follow the instructions in American Biltrite’s Maintenance Instructions when performing initial and regular maintenance procedures.

END OF SECTION 0965XX

Please note that technical web site documents prevail.